## Slide 1: Key features for VMs in a clustered environment

## Slide 2: Agenda
Overview of Network Health Protection
Overview of actions taken on VMs when a host shuts down
Overview of drain on shutdown

## Slide 3: Overview of Network Health Protection
Network Health Protection was introduced in Windows Server 2012 R2 and is available for Windows Server 2016. Though we recommend network teaming as the first level of redundancy for your server to achieve network high availability with Hyper-V, there are many ways that a network can become disconnected and create availability outages.
Allows a VM to live migrate from one failover cluster node to another failover cluster node if network connectivity on that specific network adapter becomes disconnected. This feature increases the availability of the VM by moving the VM automatically instead of waiting for manual intervention.
Each VM has a cluster resource that continually checks to ensure that resources are available on the failover cluster node that is hosting the VM. This resource checks every 60 seconds, so sometimes the network disconnection is discovered quickly, and other times it takes up 60 seconds. Once it discovers the disconnect, the resource will check the other nodes to see if the resources needed to run the VM are available. If the resources are available, the cluster resource initiates a live migration to move to another failover cluster node.
Each network adapter per VM can control this feature. By default, the Protected Network setting is enabled for all virtual network adapters. You can find this property in the advanced configuration section of the network adapter settings on each VM. This allows you to remove the setting if a network is not important enough to trigger a live migration if communications are lost.

## Slide 4: Agenda
Overview of Network Health Protection
Overview of actions taken on VMs when a host shuts down
Overview of drain on shutdown

## Slide 5: Overview of actions taken on VMs when a host shuts down
In Windows Server 2012 R2 and later versions, when a shutdown is initiated on a Hyper-V host
machine, that action that is taken by that VM depends on the settings set for each VM. These options are found in the VM settings by selecting the Automatic Stop Action tab:
Save the virtual machine state. This option is the first and default option. In Windows Server 2012 R2 and later this option creates a .bin file reserving space for the memory to be saved when placing the VM in a saved state. If the host begins a shutdown, Hyper-V Virtual Machine Management Service (VMMS) will begin saving the VMs’ memory to the hard drive and placing the VMs in a saved state.
Turn off the virtual machine. This second option will allow VMMS to turn off the VM in a graceful manner for Hyper-V and entering an off state. However, the VM operating system views this as no different from removing power on a physical machine.
Shutdown the guest operating system. Unlike the Turn off the virtual machine option, allows a graceful shutdown of the VM from the host’s perspective including the guest. By utilizing the integrated services, VMMS will trigger a shutdown on the guest machine. Once initiated, the VM will shut down the guest operating system and enter an off state.

## Slide 6: Agenda
Overview of Network Health Protection
Overview of actions taken on VMs when a host shuts down
Overview of drain on shutdown